WILLIAM P. BAHNFLETH, Ph.D., P.E.

Department of Architectural Engineering

The Pennsylvania State University

University Park, PA

At Penn State, Dr. Bahnfleth teaches undergraduate courses in HVAC fundamentals and controls and graduate courses in chilled water systems, hot water and steam systems, and indoor air quality.  His research interests cover a wide variety of indoor environmental control topics, including chilled water pumping systems, stratified thermal energy storage, protection of building occupants from indoor bioaerosol releases, ultraviolet germicidal irradiation systems, and others.  He is the author or co-author of more than 100 technical papers and 11 books and book chapters.  He consults regularly on the design of chilled water thermal energy storage systems and has been involved in more than 20 projects world-wide.

Dr. Bahnfleth is member of the American Society of Mechanical Engineers (ASME), Sigma Xi, American Society for Engineering Education (ASEE), Society of Building Science Educators (SBSE), and a Fellow of the American Society of Heating, Refrigerating, and Air-Conditioning Engineers (ASHRAE).  He has served ASHRAE in a variety of capacities, including Student Branch Advisor, Chapter Governor, Technical Committee and Standing Committee Chair, and as a Director-at-Large, Vice President and is currently Society Treasurer.  He is the recipient of a 1st place ASHRAE Technology Award, Transactions Paper Award, and Distinguished Service and Exceptional Service Awards.

LECTURE TOPICS

 Integrating Indoor Air Quality and Energy Efficiency in Buildings – NEW!

Buildings are one of the largest energy end use sectors in countries around the globe. Concerns for the availability of energy supplies and the impact of energy use on the environment are driving a worldwide focus on energy end use reduction. In this push for dramatic changes in the energy use intensity of the building sector, it is essential that the fundamental importance of indoor environmental quality, particularly indoor air quality, not be lost. This presentation addresses: 1) the significance of indoor air quality in terms of its impact on health and productivity and associated costs; 2) the inseparable linkage between indoor air quality and building energy demands, including examples of efficient technologies for maintaining good indoor air quality; and 3) the need for an approach to building research, design, and operation that recognizes this connection.

 Fundamentals of Ultraviolet Germicidal Irradiation for Air and Surface Disinfection

Germicidal radiation produced by low pressure mercury vapor lamps and other sources is seeing increasing application both for air disinfection and for control of biological growth on surface.  This presentation provides an overview of the fundamentals of ultraviolet germicidal irradiation (UVGI) including principles of operation, component characteristics, system types, applications, and published evidence of effectiveness.

 Variable Primary Flow Chilled Water Systems

Variable primary flow is being adopted in chilled water system design with increasing frequency as a lower cost, more efficient alternative to primary/secondary design that is not as susceptible to low delta T syndrome.  Subtopics include a review of variable primary flow and primary/secondary system types; causes and effects of low delta T syndrome and potential remedies; design considerations for variable primary flow, and, comparisons of variable primary flow and primary/secondary flow taken from case study and research literature.

 Cool Thermal Energy Storage in the Era of Sustainability

During the 1980s and 1990s, cool thermal energy storage (TES) was a key technology in US utility demand-side management (DSM) programs.  Interest in TES declined steeply as incentives disappeared during utility deregulation.  Today, the focus of design has shifted from energy cost savings toward sustainability and it is reasonable to ask whether TES has anything to offer in this environment.  This presentation will review the essentials of cool thermal energy storage and examine its relevance to sustainable design.  Specific issues examined will include the impact of TES on site and source energy consumption, the economic case for TES without the incentives of the DSM era and the role of TES in achieving net zero energy buildings and communities.

 The ASHRAE Building Energy Labeling Program (PIE approved for 1.5 New York PDHs)

Whether voluntary or mandatory, the rating of the energy use and indoor environmental quality of buildings is a growing trend worldwide.  In 2009, ASHRAE introduced its own "Building Energy Quotient" (bEQ) labeling program for new and existing buildings and is now in the process of piloting it in a number of locations around the U.S. It is an ambitious program comprising not only the development of an energy use performance scale, but also tools and procedures for performing ratings and certification of the qualified energy modelers and building assessors needed to implement it. This presentation will provide an overview of the bEQ program, describe its relationship to other building certification programs in the US and elsewhere, identify the potential benefits of certification, and summarize the current state of implementation of the program and plans for the future.